## NGR101B transmission usage data
NGR101B(4)
Transmission
Pipeline usage information (a) for a transmission pipeline: | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information;
Relevant AGIG transmission pipelines
AGN Riverland Pipeline System (SA)
Palm Valley to Alice Springs Pipeline (NT)
Wide Bay Pipeline (Qld)
Tanami Pipeline (NT) | (provided separately)
Distribution
Pipeline usage information (a) for each entry and exit point on a large distribution pipeline that is owned, operated or controlled by the service provider or for which the service provider holds the information. Not required if the relevant entry point is a BB reporting facility | (i) daily flow data; and | (ii) where a meter is installed at the relevant entry or exit point, the hourly flow data; and | (iii) minimum inlet and minimum outlet pressures over each hour; and | (iv) a static table or chart showing the maximum flow rate of the entry or exit point against pressure.
No AGIG large distribution pipelines that meet the relevant criteria

## October 2023
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 63118 | 62973 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 72610 | 47550 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 43111 | 43113 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 78231 | 77909 | N/A | N/A | N/A | No scheduling/nominations on this pipeline

## November 2023
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 53388 | 54402 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 47990 | 50709 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 43143 | 43140 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 64934 | 65832 | N/A | N/A | N/A | No scheduling/nominations on this pipeline

## December 2023
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 46965 | 44813 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 75314 | 87815 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 32779 | 32777 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 61242 | 61323 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
`

## January 2024
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 52299 | 49176 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 116521 | 115408 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 31593 | 31005 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 56575 | 56565 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
`

## February 2024
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 52569 | 49639 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 56360 | 43492 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 34204 | 33565 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 46491 | 46883 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
`

## March 2024
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 63107 | 58688 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 56150 | 44068 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 39888 | 39888 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 53160.7692 | 52718.2235 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
`

## April 2024
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 71993 | 69157 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 32490 | 33572 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 39921 | 39924 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 65936 | 65018 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
`

## May 2024
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 101582 | 90804 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 41075 | 42734 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 42311 | 42311 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 76728.7282 | 74915.2306 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
`

## June 2024
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 103365 | 95970 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 41236 | 43527 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 39935 | 39938 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 71989.7927 | 72803.2646 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
`

## July 2024
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 109562 | 103713 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 42408 | 44458 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 43833 | 43832 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 91711 | 92579 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
`

## August 2024
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 81234 | 77728 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 35479 | 33411 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 44502 | 44503 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 80314.9319 | 82876.4552 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
`

## September 2024
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 71165 | 70955 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 13505 | 13401 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 42587 | 42587 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 78265 | 78818 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
`

## October 2024
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 68873 | 65042 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 21340 | 17052 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 43479 | 43810 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Bundaberg Port Gas Pipeline (Qld) | 19258 | 18984 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 71407 | 71759 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
`

## November 2024
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 56687 | 54689 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 33616 | 23016 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 38396 | 42181 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Bundaberg Port Gas Pipeline (Qld) | 18246 | 16770 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 59647 | 62850 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
`

## December 2024
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 45581 | 44164 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 71013 | 40304 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 31951 | 31984 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Bundaberg Port Gas Pipeline (Qld) | 11581 | 11163 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 58078 | 61268 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
`

## January 2025
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 52808 | 50958 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 68977 | 35445 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 32539 | 30676 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Bundaberg Port Gas Pipeline (Qld) | 9714 | 10702 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 51872 | 54962 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
`

## February 2025
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 59862 | 56263 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 86659 | 45508 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 35377 | 34870 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Bundaberg Port Gas Pipeline (Qld) | 15382 | 15167 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 48529 | 47683 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
`

## March 2025
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 70302 | 64435 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 76707 | 43377 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 38373 | 37834 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Bundaberg Port Gas Pipeline (Qld) | 16141 | 15574 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 51152 | 50023 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
`

## April 2025
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 66115 | 61006 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 15538 | 14064 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 36699 | 35522 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Bundaberg Port Gas Pipeline (Qld) | 12623 | 12151 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 56665 | 55740 | N/A | N/A | N/A | No scheduling/nominations on this pipeline

## May 2025
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 97992 | 87281 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 29359 | 26334 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 41370 | 41251 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Bundaberg Port Gas Pipeline (Qld) | 16145 | 15537 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 73658 | 71698 | N/A | N/A | N/A | No scheduling/nominations on this pipeline

## June 2025
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 112331 | 98748 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 31255 | 30869 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 39643 | 38391 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Bundaberg Port Gas Pipeline (Qld) | 14005 | 13430 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 76150 | 75772 | N/A | N/A | N/A | No scheduling/nominations on this pipeline

## July 2025
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 103981 | 94588 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 39613 | 39193 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 46726 | 45034 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Bundaberg Port Gas Pipeline (Qld) | 18186 | 18042 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 81109 | 80951 | N/A | N/A | N/A | No scheduling/nominations on this pipeline

## August 2025
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 91487 | 85919 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 35384 | 35461 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 43181 | 43168 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Bundaberg Port Gas Pipeline (Qld) | 17461 | 16112 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 86287 | 91789 | N/A | N/A | N/A | No scheduling/nominations on this pipeline

## September 2025
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 80146 | 73625 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 18872 | 17819 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 42587 | 39661 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Bundaberg Port Gas Pipeline (Qld) | 16118 | 16627 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 79205 | 81116 | N/A | N/A | N/A | No scheduling/nominations on this pipeline

## October 2025
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 64283 | 61155 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 21507 | 16375 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 40631 | 40030 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Bundaberg Port Gas Pipeline (Qld) | 17427 | 16544 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 76707.5128 | 76081.3473 | N/A | N/A | N/A | No scheduling/nominations on this pipeline

## November 2025
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 58635 | 58070 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 21415 | 14496 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 37959 | 37997 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Bundaberg Port Gas Pipeline (Qld) | 16407 | 15461 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 70910 | 70457 | N/A | N/A | N/A | No scheduling/nominations on this pipeline

## December 2025
NGR101B(4)
Pipeline usage information (a) for a transmission pipeline:
Pipeline | (i) the total quantity of natural gas metered as having been injected into the pipeline during the month; and | (ii) the total quantity of natural gas metered as having been withdrawn from the pipeline during the month; and | (iii) the total quantity of natural gas scheduled for injection into the pipeline during the month (after taking into account rescheduling); and | (iv) the total quantity of natural gas scheduled for withdrawal from the pipeline during the month (after taking into account rescheduling); and | (v) of the scheduled quantities referred to in subparagraphs (iii) and (iv), the quantities attributable to each pipeline service on the pipeline as identified in the pipeline service information; | Notes
Units | GJ | GJ
AGN Riverland Pipeline System (SA) | 54064 | 49904 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Palm Valley to Alice Springs Pipeline (NT) | 43653 | 24981 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Wide Bay Pipeline (Qld) | 32013 | 31008 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
Bundaberg Port Gas Pipeline (Qld) | 11622 | 11322 | N/A | N/A | N/A | No scheduling/nominations on this pipeline
South Gippsland Pipeline (Vic) | 62281 | 62171 | N/A | N/A | N/A | No scheduling/nominations on this pipeline